| Big Kush Guys | Sample: 957 Sample Received:60824 |
| --- | --- |
| CoolKush Flower | Total Terpene: 2.06% Total Cannabinoids: 12.67% |

Terpenes

(Testing Method: GC)

Date Tested: 062925

| Analyte; Mass; Mass. %; mg/g. Camphene; 0.011; 0.11. Alpha-Pinene; 0.107; 1.07. beta-Pinene; 0.077; 0.77. beta-Myrcene; 0.089; 0.89. delta-3-Carene; ND; ND. alpha-Terpinene; ND; ND. p-Isopropyltoluene (p-Cymene); ND; ND. d-Limonene; 0.278; 2.78. Ocimene; 0.041; 0.41. gamma-Terpinene; ND; ND. Terpinolene; 0.005; 0.05. Linalool; 0.029; 0.29. (-)-Isopulegol; 0.016; 0.16. Geraniol; 0.015; 0.15. beta-Caryophyllene; 0.715; 7.15. alpha-Humulene; 0.304; 3.04. Nerolidol; 0.054; 0.54. (-)-Guaiol; 0.143; 1.43. (0)-alphabisbolol; 0.124; 1.24. 8-Cineole (Eucalyptol); 0.009; 0.09. Caryophyllene Oxide; 0.044; 0.44. Total; 2.061; 20.61. | Primary Aromas. Peppery. Woody. Citrus. |
| --- | --- |

Cannabinoids

(Testing Method: HPLC)

Date Tested: 06272025

| Analyte | Mass | Mass |
| --- | --- | --- |
|  | % | mg/g |
| Cannabidivarin (CBDV)total | ND | ND |
| Cannabinol (CBN)total | NT | NT |
| Cannabidiolic Acid (CBDA)total | 0.102 | 1.02 |
| Cannabigerolic Acid (CBGA)total | 0.254 | 2.54 |
| Cannabigerol (CBG)total | 0.075 | 0.75 |
| Cannabidiol (CBD)total | ND | ND |
| Tetrahydrocannabivarin (THCV)total | 0.094 | 0.94 |
| delta-9-Tetrahydrocannabinol (delta-9 THC)total | 0.426 | 4.26 |
| delta-8-Tetrahydrocannabinol (delta-8 THC) total | ND | ND |
| Cannabichromene (CBC)total | ND | ND |
| delta-9-Tetrahydrocannabinolic acid (THCA)total | 11.722 | 117.22 |
| Total | 12.673 | 126.73 |

ND = Not Detected.; NT = Not Tested

| {{sampleImage}} | 11.72 THCA; 0.43 Delta-9 THC. 12.67 Total Cannabinoids; ND Total CBD. |
| --- | --- |